# Sim_45_Design2_Set23.1_Without_MXene

## Boundary Conditions

| Type | Assigned To |
| --- | --- |
| Velocity Normal (10 km/h) | Surface:420, Surface:423, Surface:424, Surface:432, Surface:442, Surface:565, Surface:587, Surface:601, Surface:684, Surface:688 |
| Velocity Normal (0 km/h) | Surface:430, Surface:433, Surface:587, Surface:592, Surface:601, Surface:688 |
| Velocity Normal (10 km/h) | Surface:1455 |
| Velocity Normal (0 km/h) | Surface:1457 |

## RESULTS - Inlets and Outlets

### Inlet 1

| Property | Value |
| --- | --- |
| Inlet Bulk Pressure | 0.0 dyne/cm^2 |
| Inlet Bulk Temperature | 0.0 C |
| Inlet Mach Number | 0.0 |
| Mass Flow In | 0.0 g/s |
| Minimum x,y,z of Opening | 0.0 |
| Node Near Minimum x,y,z of Opening | 57233.0 |
| Reynolds Number | 0.0 |
| Surface ID | 1137.0 |
| Volume Flow In | 0.0 cm^3/s |

### Inlet 2

| Property | Value |
| --- | --- |
| Inlet Bulk Pressure | -58240000.0 dyne/cm^2 |
| Inlet Bulk Temperature | 28.9200 C |
| Inlet Mach Number | 0.007921 |
| Mass Flow In | -121466.0 g/s |
| Minimum x,y,z of Opening | 1258400 |
| Node Near Minimum x,y,z of Opening | -121466.0 g/s |
| Reynolds Number | -100825000.0 cm^3/s |
| Surface ID | 1138.0 |
| Volume Flow In | 0.007921 |

## Field Variable Results

| Variable | Max | Min |
| --- | --- | --- |
| cond | 0.0002563 W/cm-K | 2.04 W/cm-K |
| dens | 0.0012047 g/cm^3 | 2.707 g/cm^3 |
| econd | 0.0 W/cm-K | 0.02563 W/cm-K |
| emiss | 0 | 1 |
| evisc | 0.0 g/cm-s | 0.198240 g/cm-s |
| gent | 0.0316228 1/s | 0.0316228 1/s |
| press | -58420000 dyne/cm^2 | 0.0 dyne/cm^2 |
| ptotl | -58420000 dyne/cm^2 | 0.0 dyne/cm^2 |
| scal1 | 0 | 0 |
| seebeck | 0.0 V/K | 0.0 V/K |
| shgc | 0 | 0 |
| spech | 0.837 J/g-K | 1.255 J/g-K |
| temp | 26.7 C | 29.0 C |
| transmiss | 0 | 0 |
| turbd | 0.0001815 cm^2/s^3 | 0.6120 cm^2/s^3 |
| turbk | 0.0 cm^2/s^2 | 92.5 cm^2/s^2 |
| ufactor | 0 | 0 |
| visc | 0.0 g/cm-s | 0.0001817 g/cm-s |
| vx vel | -18450.0 cm/s | 26850.0 cm/s |
| vy vel | -19320.5 cm/s | 24050.5 cm/s |
| vz vel | -1610.0 cm/s | 22410.0 cm/s |
| wrough | 0.0 cm | 0.0 cm |

## Table 2. Heat Load and Wind Resistance

| Simulations | Thickness (mm) | Luffa (g) | Water (ml) | Pore | Size (mm) | Pore Density (No./mm²) | Heat Load | Heat Load (w/ MXene) | Wind Resistance | Wind Resistance (w/MXene) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.1 1.2 1.3 | 10.00 | 0.000 | 0.0011 | 0.1000 | 0.3000 | 0.0500 0.5000 1.0000 | 56.0224 | 36.4146 | 5.0955 | 4.8100 |
| 2.1 2.2 2.3 | 10.00 | 0.100 | 0.0011 | 0.1000 | 0.3000 | 0.0500 0.5000 1.0000 | 56.0224 | 36.4146 | 5.0955 | 4.8100 |
| 3.1 3.2 3.3 | 10.00 | 0.200 | 0.0011 | 0.1000 | 0.3000 | 0.0500 0.5000 1.0000 | 56.0224 | 36.4146 | 5.0955 | 4.8100 |
| 4.1 4.2 4.3 | 20.00 | 0.000 | 0.0011 | 0.1000 | 0.3000 | 0.0500 0.5000 1.0000 | 28.0112 | 18.2073 | 2.5478 | 2.4100 |
| 5.1 5.2 5.3 | 20.00 | 0.100 | 0.0011 | 0.1000 | 0.3000 | 0.0500 0.5000 1.0000 | 28.0112 | 18.2073 | 2.5478 | 2.4100 |
| 6.1 6.2 6.3 | 20.00 | 0.200 | 0.0011 | 0.1000 | 0.3000 | 0.0500 0.5000 1.0000 | 28.0112 | 18.2073 | 2.5478 | 2.4100 |
| 7.1 7.2 7.3 | 30.00 | 0.000 | 0.0011 | 0.1000 | 0.3000 | 0.0500 0.5000 1.0000 | 18.6741 | 12.1382 | 1.6985 | 1.6000 |
| 8.1 8.2 8.3 | 30.00 | 0.100 | 0.0011 | 0.1000 | 0.3000 | 0.0500 0.5000 1.0000 | 18.6741 | 12.1382 | 1.6985 | 1.6000 |
| 9.1 9.2 9.3 | 30.00 | 0.200 | 0.0011 | 0.1000 | 0.3000 | 0.0500 0.5000 1.0000 | 18.6741 | 12.1382 | 1.6985 | 1.6000 |